## DETAILED BUILDING ESTIMATE
PROJECT |  | Electric Vehicle Charger Installation DTN7 Delivery Station | [15 empty] | Rev(0)
ADDRESS |  | 342 Mason Road LA Vergne, Tennessee 37086
Date of plans |  | 2025-06-03 | [10 empty] | Please confirm inclusion in scope & add prices if required
Date of Submission | [12 empty] | Please confirm/add prices
TOTAL BASE BID |  | 0
SR # | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | TOTAL MANHOURS | HOURLY WAGE | UNIT MANHOURS | MATERIAL COST | SUBCONTRACTOR | TOTAL LABOR | TOTAL MATERIAL | TOTAL SUB | TOTAL COST | SUBTOTALS
GENERAL REQUIREMENTS
1 |  |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
2 |  |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
3 |  |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
4 |  |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
5 |  |  |  | Bond @ 2% | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
6 |  |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
7 |  |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | General Requirements Sub Total | [9 empty] | 0 | 0 | 0 |  | 0
|  |  | 26 00 00 | ELECTRICAL
CONDUCTOR & CONDUIT
CONDUIT
8 |  |  |  | 1" Pvc Conduit | 21160 | 10% | 23276 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
9 |  |  |  | 1-1/4" Pvc Conduit | 80 | 10% | 88 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
10 |  |  |  | 2-1/2" Pvc Conduit | 518 | 10% | 569.8 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
11 |  |  |  | 3" Pvc Conduit | 4270 | 10% | 4697 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
12 |  |  |  | 4" Pvc Conduit | 2040 | 10% | 2244 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
CONDUCTOR
13 |  |  |  | 2#4, 1#8 Gnd, Cu Wire, Service For Charger | 1790 | 10% | 1969 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
14 |  |  |  | 2#6, 1#10 Gnd, Cu Wire, Service For Charger | 19370 | 10% | 21307 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
15 |  |  |  | 3#3, 1#8 Gnd, Cu Wire, Service For Ev Charger | 80 | 10% | 88 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
16 |  |  |  | 4#4/0, 1#2 Gnd, Cu Wire, Service For Panel | 8 | 10% | 8.8 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
17 |  |  |  | 3#500 Kcmil, 1#3 Gnd, Cu Wire, Service For Panel | 4270 | 10% | 4697 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
18 |  |  |  | 3-Sets Of 4#300 Kcmil, 1#2 Gnd, Cu Wire, Service For Panel | 170 | 10% | 187 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
19 |  |  |  | 6-Sets Of 4#400 Kcmil, Cu Wire, Service For Main | 240 | 10% | 264 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
20 |  |  |  | 8-Sets Of 4#500 Kcmil, Cu Wire, Service For Main | 75 | 10% | 82.5 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
GROUNDING
GROUNDING
21 |  |  |  | 1#3/0 Gnd, Cu Wire For Grounding | 20 | 10% | 22 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
22 |  |  |  | 1#4/0 Gnd, Cu Wire For Grounding | 40 | 10% | 44 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
23 |  |  |  | 1#4 Gnd, Cu Wire For Grounding | 20 | 10% | 22 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
24 |  |  |  | Electrode Grounding Conductor | 20 | 10% | 22 | LF | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
25 |  |  |  | 3/4" X 10'-0" Long-Clad Ground Rod | 4 | 0% | 4 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
26 |  |  |  | Ground Bus | 3 | 0% | 3 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
27 |  |  |  | Neutral Bus | 4 | 0% | 4 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
EV CHARGER
28 |  |  |  | L2, Ev Charger, 60A | 339 | 0% | 339 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
29 |  |  |  | L3, Ev Charger, 100A | 2 | 0% | 2 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
Note: Ev Charger With Pedestal, Furnished BY Owner, Installed BY EC
PANELS & CIRCUIT BREAKER
30 |  |  |  | Panel Dtn7-Lvsb-1, 480/277V, 3P, 4W, Main Bus: 3000A, Main Type: 3000A Mcb, Aic Rating: 65Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
31 |  |  |  | 400A, 3P Circuit Breaker | 6 | 0% | 6 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
32 |  |  |  | 400Af, 225At, 3P Circuit Breaker | 5 | 0% | 5 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
33 |  |  |  | 400Af, 350At, 3P Circuit Breaker | 11 | 0% | 11 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
34 |  |  |  | Panel Dtn7-Lvsb-2, 480/277V, 3P, 4W, Main Bus: 2000A, Main Type: 2000A Mcb, Aic Rating: 65Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
35 |  |  |  | 400A, 3P Circuit Breaker | 6 | 0% | 6 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
36 |  |  |  | 400Af, 225At, 3P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
37 |  |  |  | 400Af, 350At, 3P Circuit Breaker | 6 | 0% | 6 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
38 |  |  |  | Panel Dtn7-480, 480/277V, 3P, 4W, Main Bus: 225A, Main Type: Mlo, Aic Rating: 35Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
39 |  |  |  | 100Af, 100At, 3P Circuit Breaker | 2 | 0% | 2 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
40 |  |  |  | Panel Dtn7-Lv Pnl-1, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
41 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
42 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
43 |  |  |  | Panel Dtn7-Lv Pnl-10, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
44 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
45 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
46 |  |  |  | Panel Dtn7-Lv Pnl-11, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
47 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
48 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
49 |  |  |  | Panel Dtn7-Lv Pnl-12, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
50 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
51 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
52 |  |  |  | Panel Dtn7-Lv Pnl-13, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
53 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
54 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
55 |  |  |  | Panel Dtn7-Lv Pnl-14, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
56 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
57 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
58 |  |  |  | Panel Dtn7-Lv Pnl-15, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
59 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
60 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
61 |  |  |  | Panel Dtn7-Lv Pnl-16, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
62 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
63 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
64 |  |  |  | Panel Dtn7-Lv Pnl-17, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
65 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
66 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
67 |  |  |  | Panel Dtn7-Lv Pnl-2, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
68 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
69 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
70 |  |  |  | Panel Dtn7-Lv Pnl-3, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
71 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
72 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
73 |  |  |  | Panel Dtn7-Lv Pnl-4, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
74 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
75 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
76 |  |  |  | Panel Dtn7-Lv Pnl-5, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
77 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
78 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
79 |  |  |  | Panel Dtn7-Lv Pnl-6, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
80 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
81 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
82 |  |  |  | Panel Dtn7-Lv Pnl-7, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
83 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
84 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
85 |  |  |  | Panel Dtn7-Lv Pnl-8, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
86 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
87 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
88 |  |  |  | Panel Dtn7-Lv Pnl-9, 120/208V, 3P, 4W, Main Bus: 800A, Main Type: 800A Mcb, Aic Rating: 22Ka | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
89 |  |  |  | 20A, 1P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
90 |  |  |  | 60A, 2P Circuit Breaker | 20 | 0% | 20 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
Note: All Electrical Switches & Panel Boards, Furnished By Owner, Installed BY EC
TRANSFORMER
91 |  |  |  | 1500 Kva Utility Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
92 |  |  |  | 2500Kva Utility Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
93 |  |  |  | Dtn7-Lv-Xfmr-1, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
94 |  |  |  | Dtn7-Lv-Xfmr-10, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
95 |  |  |  | Dtn7-Lv-Xfmr-11, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
96 |  |  |  | Dtn7-Lv-Xfmr-12, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
97 |  |  |  | Dtn7-Lv-Xfmr-13, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
98 |  |  |  | Dtn7-Lv-Xfmr-14, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
99 |  |  |  | Dtn7-Lv-Xfmr-15, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
100 |  |  |  | Dtn7-Lv-Xfmr-16, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
101 |  |  |  | Dtn7-Lv-Xfmr-17, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
102 |  |  |  | Dtn7-Lv-Xfmr-2, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
103 |  |  |  | Dtn7-Lv-Xfmr-3, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
104 |  |  |  | Dtn7-Lv-Xfmr-4, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
105 |  |  |  | Dtn7-Lv-Xfmr-5, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
106 |  |  |  | Dtn7-Lv-Xfmr-6, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
107 |  |  |  | Dtn7-Lv-Xfmr-7, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
108 |  |  |  | Dtn7-Lv-Xfmr-8, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
109 |  |  |  | Dtn7-Lv-Xfmr-9, 225 Kva Transformer | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
Note: Medium-Voltage Liquid Filled Transformers Furnished By Utility, Installed BY EC Low Voltage Transformers, Furnished BY Owner, Installed By EC
METER
110 |  |  |  | 2000A Utility Meter Enclosure | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
111 |  |  |  | 2000A Utility Meter Socket | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
112 |  |  |  | 3000A, Utility Meter Enclosure | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
113 |  |  |  | 3000A, Utility Meter Socket | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
GENERATOR
114 |  |  |  | 2000A Circuit | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
115 |  |  |  | 3000A, 3P Circuit Breaker | 1 | 0% | 1 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
116 |  |  |  | Kirk Key 1 | 2 | 0% | 2 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
117 |  |  |  | Temp Gnerator Cam Lock Receptacle | 2 | 0% | 2 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
118 |  |  |  | Spd, Surge Protection Device, Furnished BY Owner, Installed BY EC | 2 | 0% | 2 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
119 |  |  |  | 48" Square X 48" Deep Pull Box | 5 | 0% | 5 | EA | 0 | 75 |  |  | 0 | 0 | 0 | 0 | 0
TOTAL BASE BID | [13 empty] | 0 | 0 | 0 | 0 | 0
OVERHEAD & PROFIT | [12 empty] | 20% |  |  |  | 0 | 0
SALES TAX | [12 empty] | 8.88% |  |  |  | 0 | 0
TOTAL BASE BID | [16 empty] | 0 | 0
Exclusions:
Cabling
- Anything else not mentioned above