## SUMMARY
|  | SCOPE : | Division (22 & 23)
|  | PROJECT NAME : | Hallo-Nelson At granite Pointe- Townhomes Left Stage 1
|  | PROJECT LOCATION : | 123 Richards Street West nelson, Bc V1l 6E3
|  | DATE SUBMITTED : | 2025-03-14
|  | PROJECT TYPE: | Public
|  | REVISION NO.: | 0
ITEM # | CSI DIV. | DESCRIPTION |  | TOTAL LABOR COST | TOTAL MATERIAL COST | TRADE COST
| 1 | GENERAL REQUIREMENTS |  | 0 | 0 | 7350
| 22 00 | PLUMBING |  | 0 | 0 | 0
| 23 00 | HVAC |  | 0 | 0 | 0
SUB TOTAL |  |  |  | 0 | 0 | 7350
MATERIAL TAX |  |  | 8.25% | 0 | 0 | 0
OVERHEAD & PROFIT / INFLATION (Material) |  |  | 15% | 0 | 0 | 0
OVERHEAD & PROFIT (Labor) |  |  | 15% | 0 | 0 | 0
CASH ALLOWANCE |  |  | 0% | 0 | 0 | 0
BOND FEE |  |  | 1.5% |  |  | 110.25
TOTAL BASE BID | [5 empty] | 7460.25
| Note |  |  | Legend
1 | The drawings are scaled as per the mentioned scale on the provided drawings. |  |  | DIV. = Division
2 | The prices used above are standard prices unless otherwise noted. |  |  | F.C = Waste or diff. factor
D.O. = Daily Output
| Exclusions |  |  | LBR. HR. = Labor Hours
1 | Union Wages. |  |  | M = metre
2 | Any work not mentioned above. |  |  | SM = square metre
3 | Building Charges (if any). |  |  | CM = cubic metre
4 | Security fee (if any). |  |  | EA = each
MT = metric tons
SY = square yard
LOC = location
LS = lump sum
KG = kilogram
|  | GENERAL REQUIREMENTS | 01 00
|  | SITE CONDITIONS | 02 00
|  | CONCRETE | 03 00
|  | MASONRY | 04 00
|  | METAL | 05 00
|  | WOOD, PLASTICS & COMPOSITES | 06 00
|  | WATERPROOFING | 07 00
|  | OPENNINGS | 08 00
|  | FINISHES | 09 00
|  | SPECIALITES | 10 00
|  | EQUIPMENT | 11 00
|  | FURNISHINGS | 12 00
|  | SPECIAL CONSTRUCTION | 13 00
|  | CONVEYING EQUIPMENTS | 14 00
|  | FIRE SUPPRESSION | 21 00
|  | PLUMBING | 22 00
|  | HVAC | 23 00
|  | INTEGRATED AUTOMATION | 25 00
|  | ELECTRICAL | 26 00
|  | COMMUNICATIONS | 27 00
|  | ELECTRONIC SAFETY AND SECURITY | 28 00
|  | EARTHWORK | 31 00
|  | EXTERIOR IMPROVEMENT | 32 00
|  | UTILITIES | 33 00

## BASE BID
|  | SCOPE : | Division (22 & 23)
|  | PROJECT NAME : | Hallo-Nelson At granite Pointe- Townhomes Left Stage 1
|  | PROJECT LOCATION : | 123 Richards Street West nelson, Bc V1l 6E3
|  | DATE SUBMITTED : | 2025-03-14
|  | PROJECT TYPE: | Public
|  | REVISION NO.: | 0
ITEM # | CSI DIV. | DESCRIPTION | BARE QTY. | WASTAGE | QTY. WITH WASTAGE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
| 1 | GENERAL REQUIREMENTS | [11 empty] | 7350
1 |  | Plan Design & Permitting | 1 | 0% | 1 | LS |  | 0 | 70 | 0 |  | 0 | 0
2 |  | Utilities | 1 | 0% | 1 | LS | 60 | 60 | 70 | 4200 |  | 0 | 4200
3 |  | Equipment & Tools | 1 | 0% | 1 | LS | 45 | 45 | 70 | 3150 |  | 0 | 3150
4 |  | Signage & Promotion | 1 | 0% | 1 | LS |  | 0 | 70 | 0 |  | 0 | 0
5 |  | Cleaning & Final | 1 | 0% | 1 | LS |  | 0 | 70 | 0 |  | 0 | 0
6 |  | Bonds, Insurance, Legal | 1 | 0% | 1 | LS |  | 0 | 70 | 0 |  | 0 | 0
7 |  | Project Management & Supervision | 1 | 0% | 1 | LS |  | 0 | 70 | 0 |  | 0 | 0
| 22 00 | PLUMBING | [11 empty] | 0
Common Area
Plumbing Fixtures
8 |  | 4" Dia Co, Cleanout | 14 | 0% | 14 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Pipe Work | 0
Gas Pipe
|  | Gas Pipe (Material: Black-Steel) | 0
9 |  | 1" Dia Gas Pipe | 50 | 5% | 53 | LF |  | 0 | 70 | 0 |  | 0 | 0
10 |  | 1/2" Dia Gas Pipe | 450 | 5% | 473 | LF |  | 0 | 70 | 0 |  | 0 | 0
11 |  | 3/4" Dia Gas Pipe | 97.055 | 5% | 102 | LF |  | 0 | 70 | 0 |  | 0 | 0
Gas Fittings
Gas Fittings (Material: Black-Steel)
12 |  | 1" Dia Black Steel Fitting | 12 | 0% | 12 | EA |  | 0 | 70 | 0 |  | 0 | 0
13 |  | 1/2" Dia Black Steel Fitting | 45 | 0% | 45 | EA |  | 0 | 70 | 0 |  | 0 | 0
14 |  | 3/4" Dia Black Steel Fitting | 10 | 0% | 10 | EA |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Piping
|  | Below Grade Sanitary Pipe (Material: Pvc) | 0
15 |  | 4" Dia Sanitary Pipe, Bg | 593 | 5% | 623 | LF |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Fittings
Sanitary Fittings (Material: Pvc)
16 |  | 4" Dia Pvc Fitting | 28 | 0% | 28 | EA |  | 0 | 70 | 0 |  | 0 | 0
Valves, Devices & Miscellaneous Items
17 |  | 1/2" Dia Gas Pressure Regulator | 16 | 0% | 16 | EA |  | 0 | 70 | 0 |  | 0 | 0
18 |  | 1/2" Dia Gas Shutoff Valve | 16 | 0% | 16 | EA |  | 0 | 70 | 0 |  | 0 | 0
Meter
19 |  | 1" Dia Gas Meter | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Living/Bedroom | 4
Plumbing Fixtures
20 |  | Lfd-3, Shower Floor Drain | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
21 |  | 2" Dia Hub Drain | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
22 |  | 3" Dia Vtr, Vent Through Roof | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
23 |  | 4" Dia Co, Cleanout | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
24 |  | Hb-1, 1/2" Dia Hose Bibb | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
25 |  | Ks/Dw, Kitchen Sink/ Dishwasher | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
26 |  | Lav, Lavatory | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
27 |  | Lfd-2, Shower Floor Drain | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
28 |  | Lv-1, Lavatory | 8 | 0% | 8 | EA |  | 0 | 70 | 0 |  | 0 | 0
29 |  | Ob, Outlet Box | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
30 |  | Sh-1, Shower | 8 | 0% | 8 | EA |  | 0 | 70 | 0 |  | 0 | 0
31 |  | Wc-1, Water Closet | 12 | 0% | 12 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Pipe Work | 0
|  | Storm Pipe | 0
|  | Storm Pipe (Material: Pvc) | 0
32 |  | 3" Dia Storm Pipe | 100 | 5% | 105 | LF |  | 0 | 70 | 0 |  | 0 | 0
Strom Fittings
Storm Fittings (Material: Pvc)
33 |  | 3" Dia Pvc Fitting | 12 | 0% | 12 | EA |  | 0 | 70 | 0 |  | 0 | 0
Water Pipe
|  | Cold Water Pipe (Material: Copper) | 0
34 |  | 1/2" Dia Cold Water Pipe | 640 | 5% | 672 | LF |  | 0 | 70 | 0 |  | 0 | 0
35 |  | 3/4" Dia Cold Water Pipe | 356 | 5% | 374 | LF |  | 0 | 70 | 0 |  | 0 | 0
36 |  | 1" Dia Cold Water Pipe | 148 | 5% | 156 | LF |  | 0 | 70 | 0 |  | 0 | 0
37 |  | 1-1/2" Dia Cold Water Pipe | 300 | 5% | 315 | LF |  | 0 | 70 | 0 |  | 0 | 0
Hot Water Pipe (Material: Copper)
38 |  | 1/2" Dia Hot Water Pipe | 404 | 5% | 425 | LF |  | 0 | 70 | 0 |  | 0 | 0
39 |  | 3/4" Dia Hot Water Pipe | 384 | 5% | 404 | LF |  | 0 | 70 | 0 |  | 0 | 0
Hot Water Return Pipe (Material: Copper)
40 |  | 1/2" Dia Hot Water Return Pipe | 368 | 5% | 387 | LF |  | 0 | 70 | 0 |  | 0 | 0
Water Fittings
Water Fittings (Material: Copper)
41 |  | 1/2" Dia Copper Fitting | 184 | 0% | 184 | EA |  | 0 | 70 | 0 |  | 0 | 0
42 |  | 3/4" Dia Copper Fitting | 76 | 0% | 76 | EA |  | 0 | 70 | 0 |  | 0 | 0
43 |  | 1" Dia Copper Fitting | 24 | 0% | 24 | EA |  | 0 | 70 | 0 |  | 0 | 0
44 |  | 1-1/2" Dia Copper Fitting | 36 | 0% | 36 | EA |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Piping
|  | Sanitary Pipe (Material: Pvc) | 0
45 |  | 2" Dia Sanitary Pipe | 132 | 5% | 139 | LF |  | 0 | 70 | 0 |  | 0 | 0
46 |  | 3" Dia Sanitary Pipe | 40 | 5% | 42 | LF |  | 0 | 70 | 0 |  | 0 | 0
47 |  | 4" Dia Sanitary Pipe | 92 | 5% | 97 | LF |  | 0 | 70 | 0 |  | 0 | 0
|  | Below Grade Sanitary Pipe (Material: Pvc) | 0
48 |  | 2" Dia Sanitary Pipe | 136 | 5% | 143 | LF |  | 0 | 70 | 0 |  | 0 | 0
49 |  | 3" Dia Sanitary Pipe | 64.58 | 5% | 68 | LF |  | 0 | 70 | 0 |  | 0 | 0
50 |  | 4" Dia Sanitary Pipe | 208.02 | 5% | 219 | LF |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Fittings
Sanitary Fittings (Material: Pvc)
51 |  | 2" Dia Pvc Fitting | 64 | 0% | 64 | EA |  | 0 | 70 | 0 |  | 0 | 0
52 |  | 3" Dia Pvc Fitting | 16 | 0% | 16 | EA |  | 0 | 70 | 0 |  | 0 | 0
53 |  | 4" Dia Pvc Fitting | 64 | 0% | 64 | EA |  | 0 | 70 | 0 |  | 0 | 0
Vent Piping
|  | Vent Pipe (Material: Pvc) | 0
54 |  | 1-1/2" Dia Vent Pipe | 516 | 5% | 542 | LF |  | 0 | 70 | 0 |  | 0 | 0
55 |  | 2" Dia Vent Pipe | 84 | 5% | 89 | LF |  | 0 | 70 | 0 |  | 0 | 0
56 |  | 3" Dia Vent Pipe | 20 | 5% | 21 | LF |  | 0 | 70 | 0 |  | 0 | 0
Vent Fitting
Vent Fittings (Material: Pvc)
57 |  | 1-1/2" Dia Pvc Fitting | 44 | 0% | 44 | EA |  | 0 | 70 | 0 |  | 0 | 0
57 |  | 2" Dia Pvc Fitting | 16 | 0% | 16 | EA |  | 0 | 70 | 0 |  | 0 | 0
58 |  | 3" Dia Pvc Fitting | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Condensate Pipe
|  | Condensate Pipe (Material: Condensate) | 0
59 |  | 1" Dia Condensate Pipe | 200 | 5% | 210 | LF |  | 0 | 70 | 0 |  | 0 | 0
Condensate Fittings
Condensate Fittings (Material: Copper)
60 |  | 1" Dia Copper Fitting | 40 | 0% | 40 | EA |  | 0 | 70 | 0 |  | 0 | 0
Valves, Devices & Miscellaneous Items
61 |  | 1-1/2" Dia Shutoff Valve | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
62 |  | 3/4" Dia Shutoff Valve | 12 | 0% | 12 | EA |  | 0 | 70 | 0 |  | 0 | 0
63 |  | 1" Dia Shutoff Valve | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Plumbing Equipments
64 |  | Dhwh-1, Domestic Water Heater | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
65 |  | Et-1, Expansion Tank | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
66 |  | Rp-1, Circulation Pump | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Meter
67 |  | 1-1/2" Dia Water Meter | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Open BedRoom | 2
Plumbing Fixtures
68 |  | 2" Dia Hub Drain | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
69 |  | 3" Dia Vtr, Vent Through Roof | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
70 |  | 4" Dia Co, Cleanout | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
71 |  | Hb-1, 1/2" Dia Hose Bibb | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
72 |  | Hb-2, 1/2" Dia Hose Bibb | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
73 |  | Lfd-1, Shower Floor Drain | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
74 |  | Lv-1, Lavatory | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
75 |  | Sh-1, Shower | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
76 |  | Wc-1, Water Closet | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Pipe Work | 0
|  | Storm Pipe | 0
|  | Storm Pipe (Material: Pvc) | 0
77 |  | 3" Dia Storm Pipe | 30 | 5% | 32 | LF |  | 0 | 70 | 0 |  | 0 | 0
Strom Fittings
Storm Fittings (Material: Pvc)
78 |  | 3" Dia Pvc Fitting | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Water Pipe
|  | Cold Water Pipe (Material: Copper) | 0
79 |  | 1" Dia Cold Water Pipe | 49.692 | 5% | 53 | LF |  | 0 | 70 | 0 |  | 0 | 0
80 |  | 1/2" Dia Cold Water Pipe | 128 | 5% | 135 | LF |  | 0 | 70 | 0 |  | 0 | 0
81 |  | 3/4" Dia Cold Water Pipe | 32 | 5% | 34 | LF |  | 0 | 70 | 0 |  | 0 | 0
Hot Water Pipe (Material: Copper)
82 |  | 3/4" Dia Hot Water Pipe | 32 | 5% | 34 | LF |  | 0 | 70 | 0 |  | 0 | 0
83 |  | 1/2" Dia Hot Water Pipe | 78 | 5% | 82 | LF |  | 0 | 70 | 0 |  | 0 | 0
Water Fittings
Water Fittings (Material: Copper)
84 |  | 1" Dia Copper Fitting | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
85 |  | 1/2" Dia Copper Fitting | 36 | 0% | 36 | EA |  | 0 | 70 | 0 |  | 0 | 0
86 |  | 3/4" Dia Copper Fitting | 20 | 0% | 20 | EA |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Piping
|  | Sanitary Pipe (Material: Pvc) | 0
87 |  | 2" Dia Sanitary Pipe | 8 | 5% | 9 | LF |  | 0 | 70 | 0 |  | 0 | 0
|  | Below Grade Sanitary Pipe (Material: Pvc) | 0
88 |  | 2" Dia Sanitary Pipe | 32.662 | 5% | 35 | LF |  | 0 | 70 | 0 |  | 0 | 0
89 |  | 3" Dia Sanitary Pipe | 2.632 | 5% | 3 | LF |  | 0 | 70 | 0 |  | 0 | 0
90 |  | 4" Dia Sanitary Pipe | 77.87 | 5% | 82 | LF |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Fittings
Sanitary Fittings (Material: Pvc)
91 |  | 2" Dia Pvc Fitting | 12 | 0% | 12 | EA |  | 0 | 70 | 0 |  | 0 | 0
92 |  | 3" Dia Pvc Fitting | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
93 |  | 4" Dia Pvc Fitting | 14 | 0% | 14 | EA |  | 0 | 70 | 0 |  | 0 | 0
Vent Piping
|  | Vent Pipe (Material: Pvc) | 0
94 |  | 1-1/2" Dia Vent Pipe | 72 | 5% | 76 | LF |  | 0 | 70 | 0 |  | 0 | 0
95 |  | 2" Dia Vent Pipe | 10.584 | 5% | 12 | LF |  | 0 | 70 | 0 |  | 0 | 0
96 |  | 3" Dia Vent Pipe | 10 | 5% | 11 | LF |  | 0 | 70 | 0 |  | 0 | 0
Vent Fitting
Vent Fittings (Material: Pvc)
97 |  | 1-1/2" Dia Pvc Fitting | 6 | 0% | 6 | EA |  | 0 | 70 | 0 |  | 0 | 0
98 |  | 2" Dia Pvc Fitting | 6 | 0% | 6 | EA |  | 0 | 70 | 0 |  | 0 | 0
99 |  | 3" Dia Pvc Fitting | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
Condensate Pipe
|  | Condensate Pipe (Material: Condensate) | 0
100 |  | 1" Dia Condensate Pipe | 58 | 5% | 61 | LF |  | 0 | 70 | 0 |  | 0 | 0
Condensate Fittings
Condensate Fittings (Material: Copper)
101 |  | 1" Dia Copper Fitting | 10 | 0% | 10 | EA |  | 0 | 70 | 0 |  | 0 | 0
Valves, Devices & Miscellaneous Items
102 |  | 1/2" Dia Shutoff Valve | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
103 |  | 3/4" Dia Shutoff Valve | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Plumbing Equipments
104 |  | Dhwh-1, Domestic Water Heater | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
105 |  | Et-1, Expansion Tank | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Open Kitchen | 2
Plumbing Fixtures
106 |  | 2" Dia Hub Drain | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
107 |  | 3" Dia Vtr, Vent Through Roof | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
108 |  | 4" Dia Co, Cleanout | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
109 |  | Hb-1, 1/2" Dia Hose Bibb | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
110 |  | Hb-2, 1/2' Dia Hose Bibb | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
111 |  | Ks-2, Kitchen Sink | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
112 |  | Lfd-1, Shower Floor Drain | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
113 |  | Lv-1, Lavatory | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
114 |  | Ob, Cloth Washer Outlet Box | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
115 |  | Sh-1, Shower | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
116 |  | Wc-1, Water Closet | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
|  | Pipe Work | 0
|  | Storm Pipe | 0
|  | Storm Pipe (Material: Pvc) | 0
117 |  | 3" Dia Storm Pipe | 20 | 5% | 21 | LF |  | 0 | 70 | 0 |  | 0 | 0
Strom Fittings
Storm Fittings (Material: Pvc)
118 |  | 3" Dia Pvc Fitting | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Water Pipe
|  | Cold Water Pipe (Material: Copper) | 0
119 |  | 1" Dia Cold Water Pipe | 72.24 | 5% | 76 | LF |  | 0 | 70 | 0 |  | 0 | 0
120 |  | 1/2" Dia Cold Water Pipe | 146 | 5% | 154 | LF |  | 0 | 70 | 0 |  | 0 | 0
121 |  | 3/4" Dia Cold Water Pipe | 36 | 5% | 38 | LF |  | 0 | 70 | 0 |  | 0 | 0
Hot Water Pipe (Material: Copper)
122 |  | 3/4" Dia Hot Water Pipe | 52 | 5% | 55 | LF |  | 0 | 70 | 0 |  | 0 | 0
123 |  | 1/2" Dia Hot Water Pipe | 130 | 5% | 137 | LF |  | 0 | 70 | 0 |  | 0 | 0
Water Fittings
Water Fittings (Material: Copper)
124 |  | 1" Dia Copper Fitting | 8 | 0% | 8 | EA |  | 0 | 70 | 0 |  | 0 | 0
125 |  | 1/2" Dia Copper Fitting | 60 | 0% | 60 | EA |  | 0 | 70 | 0 |  | 0 | 0
126 |  | 3/4" Dia Copper Fitting | 22 | 0% | 22 | EA |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Piping
|  | Sanitary Pipe (Material: Pvc) | 0
127 |  | 2" Dia Sanitary Pipe | 24 | 5% | 26 | LF |  | 0 | 70 | 0 |  | 0 | 0
|  | Below Grade Sanitary Pipe (Material: Pvc) | 0
128 |  | 2" Dia Sanitary Pipe | 50.062 | 5% | 53 | LF |  | 0 | 70 | 0 |  | 0 | 0
129 |  | 3" Dia Sanitary Pipe | 2.92 | 5% | 4 | LF |  | 0 | 70 | 0 |  | 0 | 0
130 |  | 4" Dia Sanitary Pipe | 77.252 | 5% | 82 | LF |  | 0 | 70 | 0 |  | 0 | 0
Sanitary Fittings
Sanitary Fittings (Material: Pvc)
131 |  | 2" Dia Pvc Fitting | 26 | 0% | 26 | EA |  | 0 | 70 | 0 |  | 0 | 0
132 |  | 3" Dia Pvc Fitting | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
133 |  | 4" Dia Pvc Fitting | 16 | 0% | 16 | EA |  | 0 | 70 | 0 |  | 0 | 0
Vent Piping
|  | Vent Pipe (Material: Pvc) | 0
134 |  | 1-1/2" Dia Vent Pipe | 70 | 5% | 74 | LF |  | 0 | 70 | 0 |  | 0 | 0
135 |  | 2" Dia Vent Pipe | 15.918 | 5% | 17 | LF |  | 0 | 70 | 0 |  | 0 | 0
136 |  | 3" Dia Vent Pipe | 10 | 5% | 11 | LF |  | 0 | 70 | 0 |  | 0 | 0
Vent Fitting
Vent Fittings (Material: Pvc)
137 |  | 1-1/2" Dia Pvc Fitting | 8 | 0% | 8 | EA |  | 0 | 70 | 0 |  | 0 | 0
138 |  | 2" Dia Pvc Fitting | 6 | 0% | 6 | EA |  | 0 | 70 | 0 |  | 0 | 0
139 |  | 3" Dia Pvc Fitting | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
Condensate Pipe
|  | Condensate Pipe (Material: Condensate) | 0
140 |  | 1" Dia Condensate Pipe | 68 | 5% | 72 | LF |  | 0 | 70 | 0 |  | 0 | 0
Condensate Fittings
Condensate Fittings (Material: Copper)
141 |  | 1" Dia Copper Fitting | 10 | 0% | 10 | EA |  | 0 | 70 | 0 |  | 0 | 0
Valves, Devices & Miscellaneous Items
142 |  | 1/2" Dia Shutoff Valve | 6 | 0% | 6 | EA |  | 0 | 70 | 0 |  | 0 | 0
143 |  | 3/4" Dia Shutoff Valve | 4 | 0% | 4 | EA |  | 0 | 70 | 0 |  | 0 | 0
Plumbing Equipments
144 |  | Dhwh-3, Domestic Water Heater | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
145 |  | Et-1, Expansion Tank | 2 | 0% | 2 | EA |  | 0 | 70 | 0 |  | 0 | 0
| 23 00 | HVAC | [11 empty] | 0
|  | Living/Main BedRoom | 4
Air Distribution
Supply Air DuctWork
Round Duct
146 |  | 4" Dia Round Supply Air Ductwork | 32 | 5% | 34 | LF |  | 0 | 75 | 0 |  | 0 | 0
147 |  | 6" Dia Round Supply Air Ductwork | 192 | 5% | 202 | LF |  | 0 | 75 | 0 |  | 0 | 0
Rectangular Duct
148 |  | 10" X 8" Rectangular Supply Air Ductwork | 28 | 5% | 30 | LF |  | 0 | 75 | 0 |  | 0 | 0
149 |  | 12" X 10" Rectangular Supply Air Ductwork | 48 | 5% | 51 | LF |  | 0 | 75 | 0 |  | 0 | 0
Exhaust Air DuctWork
Round Duct
150 |  | 3" Dia Round Exhaust Air Ductwork | 36 | 5% | 38 | LF |  | 0 | 75 | 0 |  | 0 | 0
151 |  | 4" Dia Round Exhaust Air Ductwork | 40 | 5% | 42 | LF |  | 0 | 75 | 0 |  | 0 | 0
152 |  | 6" Dia Round Exhaust Air Ductwork | 52 | 5% | 55 | LF |  | 0 | 75 | 0 |  | 0 | 0
Toilet Exhaust Air DuctWork
Round Duct
153 |  | 6" Dia Round Toilet Exhaust Air Ductwork | 152 | 5% | 160 | LF |  | 0 | 75 | 0 |  | 0 | 0
Dryer Exhaust DuctWork
Round Duct
154 |  | 5" Dia Round Dryer Exhaust Air Ductwork | 40 | 5% | 42 | LF |  | 0 | 75 | 0 |  | 0 | 0
Kitchen Exhaust DuctWork
Round Duct
155 |  | 4" Dia Round Kitchen Exhaust Air Ductwork | 8 | 5% | 9 | LF |  | 0 | 75 | 0 |  | 0 | 0
Outside Air DuctWork
Round Duct
156 |  | 6" Dia Round Outside Air Ductwork | 32 | 5% | 34 | LF |  | 0 | 75 | 0 |  | 0 | 0
Return Air DuctWork
Round Duct
157 |  | 6" Dia Round Return Air Ductwork | 36 | 5% | 38 | LF |  | 0 | 75 | 0 |  | 0 | 0
Rectangular Duct
158 |  | 12" X 10" Rectangular Return Air Ductwork | 20 | 5% | 21 | LF |  | 0 | 75 | 0 |  | 0 | 0
Transitions
Supply Air DuctWork Transition
159 |  | 4" Dia Round Side Ductwork Transition | 12 | 0% | 12 | EA |  | 0 | 75 | 0 |  | 0 | 0
160 |  | 6" Dia Round Side Ductwork Transition | 20 | 0% | 20 | EA |  | 0 | 75 | 0 |  | 0 | 0
161 |  | 7" Dia Round Side Ductwork Transition | 8 | 0% | 8 | EA |  | 0 | 75 | 0 |  | 0 | 0
162 |  | 12" X 10" To 10" X 8" Ductwork Reducer | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Exhaust Air DuctWork Transition
163 |  | 6" Dia Exhaust Air Wall Cap | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Toilet Exhaust Air DuctWork Transition
164 |  | 3" Dia Round Side Ductwork Transition | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
165 |  | 6" Dia Round Side Ductwork Transition | 8 | 0% | 8 | EA |  | 0 | 75 | 0 |  | 0 | 0
166 |  | 3" Dia Round Elbow Ductwork Transition | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
167 |  | 6" Dia Round Elbow Ductwork Transition | 8 | 0% | 8 | EA |  | 0 | 75 | 0 |  | 0 | 0
Dryer Exhaust Air DuctWork Transition
168 |  | 5" Dia Dryer Exhaust Wall Cap | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Outside Air DuctWork Transition
169 |  | 6" Dia Round Elbow Ductwork Transition | 16 | 0% | 16 | EA |  | 0 | 75 | 0 |  | 0 | 0
Return Air DuctWork Transition
170 |  | 6" Dia Round Side Ductwork Transition | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Grille
171 |  | E-1, 6" X 5" Egg Crate Exhaust Grille Manufacturer: Price, Model: 80/F/A, Cfm: 15 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
172 |  | E-1, 6" X 6" Egg Crate Exhaust Grille Manufacturer: Price, Model: 80/F/A, Cfm: 25/50 | 8 | 0% | 8 | EA |  | 0 | 75 | 0 |  | 0 | 0
173 |  | E-1, 6" X 6" Egg Crate Exhaust Grille Manufacturer: Price, Model: 80/F/A, Cfm: 35/70 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
174 |  | R-1, 16" X 10" Return Grille, Manufacturer: Price, Model: 530/F/L/A, Cfm: 600 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
175 |  | S-1, 12" X 12" Supply Grille Manufacturer: Price, Model: Spd, Cfm: 150 | 8 | 0% | 8 | EA |  | 0 | 75 | 0 |  | 0 | 0
176 |  | S-2, 6" X 12" Supply Grille Manufacturer: Price, Model: 520D F/L/A, Cfm: 100 | 12 | 0% | 12 | EA |  | 0 | 75 | 0 |  | 0 | 0
177 |  | S-2, 8" X 4" Supply Grille Manufacturer: Price, Model: 520D F/L/A, Cfm: 16/33 | 12 | 0% | 12 | EA |  | 0 | 75 | 0 |  | 0 | 0
178 |  | T-1, 12"-0", Transfer Air Linear Grille Manufacturer: Price, Model: Lfg 15A | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Dampers
179 |  | 4" Dia Round Manual Volume Damper | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Equipments
180 |  | Dhwh-1 Domestic Hot Water Heater, Manufacturer: Navien, Model: Mpe-240A2 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
181 |  | Ebb (Details Not Given) | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
182 |  | Erv-1, Energy Recovery Ventilator Manufacturer: Panasonic, Model: Fv-10Vec2R, Cfm: 75 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
183 |  | Erv-2, Energy Recovery Ventilator Manufacturer: Panasonic, Model: Fv-10Vec2R, Cfm: 100 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
184 |  | Fc-1, Fan Coil Unit Manufacturer: Samsung, Model: Ac018Bnldch/Aa, Cfm: 600 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
185 |  | Fc-3, Fan Coil Unit Manufacturer: Samsung, Model: Ar07Csdafwkncv, Cfm: 350 | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
186 |  | Hp-1, Heat Pump Manufacturer: Samsung, Model: Aj036Bxs2Ch | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Devices
187 |  | Thermostat | 16 | 5% | 17 | EA |  | 0 | 75 | 0 |  | 0 | 0
Hvac Pipes
Gas Pipe
188 |  | 3" Dia Gas Pipe | 12 | 5% | 13 | LF |  | 0 | 75 | 0 |  | 0 | 0
Condensate Pipe
189 |  | 3/4" Dia Condensate Drain Pipe | 40 | 5% | 42 | LF |  | 0 | 75 | 0 |  | 0 | 0
Suction Pipe
190 |  | Refrigerant Line Liquid And Suction Pipe | 12 | 5% | 13 | LF |  | 0 | 75 | 0 |  | 0 | 0
|  | Open BathRoom | 2
Air Distribution
Exhaust Air DuctWork
Round Duct
191 |  | 4" Dia Round Exhaust Air Ductwork | 20 | 5% | 21 | LF |  | 0 | 75 | 0 |  | 0 | 0
Toilet Exhaust Air DuctWork
Round Duct
192 |  | 3" Dia Round Toilet Exhaust Air Ductwork | 12 | 5% | 13 | LF |  | 0 | 75 | 0 |  | 0 | 0
193 |  | 6" Dia Round Toilet Exhaust Air Ductwork | 4 | 5% | 5 | LF |  | 0 | 75 | 0 |  | 0 | 0
Outside Air DuctWork
Round Duct
194 |  | 6" Dia Round Outside Air Ductwork | 10 | 5% | 11 | LF |  | 0 | 75 | 0 |  | 0 | 0
Return Air DuctWork
Round Duct
195 |  | 6" Dia Round Return Air Ductwork | 14 | 5% | 15 | LF |  | 0 | 75 | 0 |  | 0 | 0
Transitions
Toilet Exhaust Air DuctWork Transition
196 |  | 3" Dia Round Side Ductwork Transition | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
197 |  | 3" Dia Round Elbow Ductwork Transition | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Return Air DuctWork Transition
198 |  | 6" Dia Round Elbow Ductwork Transition | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Grille
199 |  | E-1, 6" X 5" Egg Crate Exhaust Grille Manufacturer: Price, Model: 80/F/A, Cfm: 15 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Dampers
200 |  | 4" Dia Round Manual Volume Damper | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Equipments
201 |  | Evr-1, Energy Recovery Ventilator Manufacturer: Panasonic, Model: Fv-10Vec2R, Cfm: 75 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
202 |  | Fc-2, Fan Coil Unit Manufacturer: Samsung, Model: Ac0188Nldch/Aa, Cfm: 600 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Devices
203 |  | Thermostat | 2 | 5% | 3 | EA |  | 0 | 75 | 0 |  | 0 | 0
Hvac Pipes
Gas Pipe
204 |  | 3" Dia Gas Pipe | 6 | 5% | 7 | LF |  | 0 | 75 | 0 |  | 0 | 0
Suction Pipe
205 |  | Refrigerant Line Liquid And Suction Pipe | 18 | 5% | 19 | LF |  | 0 | 75 | 0 |  | 0 | 0
|  | Open BedRoom | 2
Air Distribution
Supply Air DuctWork
Round Duct
206 |  | 6" Dia Round Supply Air Ductwork | 6 | 5% | 7 | LF |  | 0 | 75 | 0 |  | 0 | 0
Kitchen Exhaust Air DuctWork
Round Duct
207 |  | 6" Dia Round Kitchen Exhaust Air Ductwork | 2 | 5% | 3 | LF |  | 0 | 75 | 0 |  | 0 | 0
Dryer Exhaust Air DuctWork
Round Duct
208 |  | 5" Dia Round Dryer Exhaust Air Ductwork | 4 | 5% | 5 | LF |  | 0 | 75 | 0 |  | 0 | 0
Toilet Exhaust Air DuctWork
Round Duct
209 |  | 3" Dia Round Toilet Exhaust Air Ductwork | 12 | 5% | 13 | LF |  | 0 | 75 | 0 |  | 0 | 0
210 |  | 6" Dia Round Toilet Exhaust Air Ductwork | 4 | 5% | 5 | LF |  | 0 | 75 | 0 |  | 0 | 0
Outside Air DuctWork
Round Duct
211 |  | 6" Dia Round Outside Air Ductwork | 4 | 5% | 5 | LF |  | 0 | 75 | 0 |  | 0 | 0
Return Air DuctWork
Round Duct
212 |  | 6" Dia Round Return Air Ductwork | 14 | 5% | 15 | LF |  | 0 | 75 | 0 |  | 0 | 0
Transitions
Toilet Exhaust Air DuctWork Transition
213 |  | 3" Dia Round Side Ductwork Transition | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
214 |  | 3" Dia Round Elbow Ductwork Transition | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Return Air DuctWork Transition
215 |  | 6" Dia Round Elbow Ductwork Transition | 4 | 0% | 4 | EA |  | 0 | 75 | 0 |  | 0 | 0
Grille
216 |  | E-1, 6" X 6" Egg Crate Exhaust Grille Manufacturer: Price, Model: 80/F/A, Cfm: 35-70 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
217 |  | S-2, 6" X 6" Supply Grille Manufacturer: Price, Model: 520D F/L/A, Cfm: 35-70 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
218 |  | T-1, 12"-0", Transfer Air Linear Grille Manufacturer: Price, Model: Lfg 15A | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Dampers
219 |  | 4" Dia Round Manual Volume Damper | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Equipments
220 |  | Erv-1, Energy Recovery Ventilator Manufacturer: Panasonic, Model: Fv-10Vec2R, Cfm: 75 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
221 |  | Fc-2, Fan Coil Unit Manufacturer: Samsung, Model: Ar09Csdabwkncv, Cfm: 427 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
222 |  | Hp-2, Heat Pump Manufacturer: Samsung, Model: Ar09Csdacwkxcv | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
223 |  | Rh-2 (Details Not Given) | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
224 |  | 24" X 20" Kitchen Exhaust Hood | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
225 |  | Et-1, Expansion Tank Manufacturer: Amtrol, Model: Therm-X-Trol St-5 | 2 | 0% | 2 | EA |  | 0 | 75 | 0 |  | 0 | 0
Devices
226 |  | Thermostat | 2 | 5% | 3 | EA |  | 0 | 75 | 0 |  | 0 | 0
Hvac Pipes
Condensate Pipe
227 |  | 3/4" Dia Condensate Drain Pipe | 20 | 5% | 21 | LF |  | 0 | 75 | 0 |  | 0 | 0
Suction Pipe
228 |  | Refrigerant Line Liquid And Suction Pipe | 18 | 5% | 19 | LF |  | 0 | 75 | 0 |  | 0 | 0
SUB TOTAL | [7 empty] | 105 |  | 7350 |  | 0 | 7350 | 7350
NOTE: